
	Event/Activity:  BARNEYBECK CAMPSITE, REDMIRE
	Date of assessment:  June 2023

	Hazard
	Who is affected?
	What controls 

are in place?
	Risk level

(L/M/H)
	Are further controls necessary?
	Action by

& date
	Review by

& date

	Large barn

Fire

Electrical hazards

Small barn

Fire

Heavy equipment

Toilet/Shower block

Fire

Electrical

Water

Site

Security
	All users

All users

All users

All users

All users
	No smoking, cooking or naked lights allowed.

Fire extinguishers in building – serviced annually.

Rear exit to be unlocked when barn is in use (keys and instructions on notice board).

Fridge/freezers PAT tested regularly
Electrical installation checked every 5 years.

No smoking, cooking or naked lights allowed.

Fire extinguishers in building – serviced annually.

Correct handling procedures needed when moving tents off or onto storage racks – trolleys provided for transport across site.

No smoking or naked lights allowed.

Fire extinguishers in building – serviced annually.

Electrical installation checked every 5 years.

Electrical isolation for whole site is in East shower block – spare keys for this block are on notice board in large barn.

Water supply stopcock for toilets and showers is in West shower block.

Water supply is not for drinking as it is from a storage tank – advisory signs in place.

Toilets and showers are thoroughly cleaned at the beginning of each season.  Toilets and showers are the responsibility of the user to keep clean and tidy

Small stream runs through site.  Leaders should instruct young people not to play in the stream.

Some areas of site are pockmarked with rabbit holes, which are back-filled regularly but care should be taken.

Septic tank in wooded area for disposal of chemical toilet waste – use to be under supervision of leaders.

All buildings should be locked when users are off-site.

Cars are left in car park at owners risk.

No valuables should be left in tents when off-site.


	L

L

L

L

L
	No

No

No

No

No
	
	



Risk Assessment Form








